## Slide 1: “3D Surface profile measurement using Fringe projection”

## Slide 2: Outline
3D profile measurement
Different methods of 3D profile measurement
Optical set up in laboratory
Flow Chart of our followed method
Principle of Fourier transform method
Procedures
Results
Discussion

## Slide 3: 3D profile measurement
3D profile is the visualization of an object with respect to 3 dimension like height, width and depth.
The surface profile measurement of an object without any physical contact by optical method is very popular in different applications.

## Slide 4: 3-D Shape Measurement Techniques
  Laser triangulation
    Utilizes the triangle formed by the laser light source, the laser spot on the object surface, and the image of the spot on the receiving sensor to acquire range information.
  Time of Flight
    Detects the time of a laser pulse traveled to the object surface and reflected back to the receiving sensor
  Stereo vision
    Stereo vision technique reconstructs 3-D geometry of an object using a pair of 2-D images captured from two different points of view
  Coded pattern projection
    This techniques facilitate the building of pixel correspondences by projecting a single pattern or a set of light patterns onto the objects

## Slide 5: 3-D Shape Measurement Techniques
  Interferometry
    Beams are superposed on the object's surface to generate interference patterns, usually
    fringe patterns.
  Moire method
    Moire method acquires the contour of the object surface by the interference of two grating patterns, a reference grating pattern and the deformed reference grating pattern
  Digital fringe projection (DFP)
    Digital fringe projection technique utilizes a liquid crystal display (LCD) projector or a digital light processing (DLP) projector to project single or multiple sinusoidal fringe patterns onto a diffuse object surface

## Slide 6: DFP (Digital Fringe Projection)
Fringe Pattern Profilometry (FPP)
  Phase Difference Estimation (PDE)
    Fourier Transform Profilometry (FTP) (we have used this method)
    Phase Shifting Profilometry (PSP)
Compared to FTP, PSP has higher measurement accuracy because of the multiple frames of the image used which can eliminate the influence of noise in the patterns

## Slide 7: Principle of Fourier transform method
A sinusoidal fringe pattern can be represented by following expression-
here,
Φ(x,y)= Phase;
a(x,y) = It relates to the background illumination;
b(x,y) = It represents local amplitude of cosinefunction;
f0 = Carrier frequency;
Applying Eulers formula we get this,

## Slide 8: Principle of Fourier transform method
By taking 1-D Fourier transform with respect to x
Assuming Ø(x,y), a(x,y), and b(x, y) vary very slowly compared to the carrier frequency f0, the three terms are separated in the spatial frequency domain. The Fourier spectra are shown below
A properly designed Filter is applied to isolate the C (fx -f0,y ) term.
Then the C (fx - f0,y ) is taken inverse Fourier transform.
The phase Ø(x,y) can be extracted by computing the logarithm of c(x, y)

## Slide 9: Phase to height conversion formula
The height distribution of the object’s surface is given by –
h(x)=l0Φ(x)/2πf0d0 ;
Φ(x)= It denotes the phase difference between two fringes(reference fringe and the deformed fringe),
f0=Spatial frequency of the fundamental frequency component,
d0= distance between camera and projector.

## Slide 10: Optical set up in laboratory
In our work, we have used manikin as our object and sinusoidal fringe pattern that are projected on the manikin surface.
A digital camera.
A projector.
A white background (reference plane)
A laptop.
Figure : Optical set up of fringe projection in laboratory

## Slide 11: Flow chart of our followed method
Image of reference plane
Image of object
FFT
FFT
IFFT
IFFT
Calculate Object Phase Map
Phase Unwrapping
Calculate height distribution
Filter
Filter

## Slide 12: Procedures (Fourier Transform Profilometry)
Region of interest was selected
Fourier transform of both reference fringe and the distorted fringe on the object is calculated
First we get rid of the Low frequency components of the image by tasking a high pass window
Then, a properly designed Gaussian filter was used to keep only the first order component of the
Now, both images are transformed back to real space and phase is calculated
Phase is unwrapped and difference is calculated
At final stage height distribution from phase is calculated.

## Slide 13: Fringe pattern

## Slide 14: Fringe pattern projected on object

## Slide 15: Columnwise Fourier spectrum (unfiltered)

## Slide 16: High-pass window (Remove low frequencies)

## Slide 17: Gaussian window to remove higher order harmonics

## Slide 18: Frequency spectrum after filtering

## Slide 19: RESULT

## Slide 20: Depth map: Middle Y slice of the height profile

## Slide 21: Final depth map 1

## Slide 22: Final depth map 2

## Slide 23: Final depth map 3

## Slide 24: Final depth map 4

## Slide 25: Discussion:
We were unable to reconstruct the object perfectly.
Sufficient data was not acquired, a higher frequency fringe could do a better job of estimation of height.
Heavy cropping was used to get rid of the spikes
Shadow due to projection angle was a major problem, It was not corrected.